## LicenseeInfo
Basic Information on the Radioactive Materials (RAM) Licensee
Entity (e.g., company) name: | Radiation Safety Engineering, Inc.
State in which Entity is licensed: | Arizona
License number (or identification): | 123456789
Date of intial licensure | 1975-07-04
Date of most recent license | 2024-03-05

## Schedule
Schedule for Various RSO Administrative Tasks
Radiation Safety Engineering, Inc.
Arizona | License number | 123456789
Task | Specific Item | Frequency | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC
Radiation Safety Committee |  | Quarterly | bar: JAN; APR; JUL; OCT
Sealed Sources
| Inventory | Semi-Annual | bar: JAN; JUL
| Leak Test | Semi-Annual | bar: JAN; JUL
Training
| New User | As Needed
| Staff | Annual | bar: FEB
X-Ray Machines
| Surveys | Annual | bar: APR
Instrumentation Calibration
| Survey Meters | Annual | bar: MAY
| Smear Counter | Annual | bar: MAR
Radiation Safety Procedures
| Periodic Review | Annual | bar: JUN

## Inventory
Radioactive Materials (RAM) Inventory
Date: | 2025-01-18
Radiation Safety Engineering, Inc.
Arizona | License number | 123456789
Radionuclide | Source Type | Activity (at Acquisition) | Manufacturer | Serial Number | Source Location
Th-230 | EPLT | 7.48 nCi | Eberline | 11562 | Lab
Am-241 | EPLT | 3.23 nCi | Eberline | S2549 | Lab
Th-230 | EPLT | 1.68 nCi | Eberline | S2550 | Lab
Pu-239 | EPLT | 2.26 nCi | Eberline | S2551 | Lab
Ba-133 | Disc | 1.25 μCi | Isotope Products | 8186-1 | Lab
Am-241 | Disc | 1.23 μCi | Isotope Products | 8186-8 | Lab
Ra-226 | Disc | 1.65 μCi | Isotope Products | 8317-1 | Lab
Cl-36 | Disc | 14.6 nCi | Isotope Products | 8317-3 | Lab
Sr-90 | Disc | 14.3 nCi | Isotope Products | 8317-4 | Lab
C-14 | Disc | 0.106 μCi | Isotope Products | 8317-5 | Lab
Tc-99 | Disc | 15.3 nCi | Isotope Products | 8317-6 | Lab
Am-241 | Rod | 0.096 μCi | Isotope Products | 8317-10 | Lab
Ra-226 | Rod | 0.189 μCi | Isotope Products | 8317-13 | Lab
Ra-226 | Sealed Flask | 0.002 μCi | Pylon Electronics | 245 | Lab
Ra-226 | Rn Gen | 35 μCi | Pylon Electronics | A-203 | Storage
Ra-226 | Rn Gen | 35 μCi | Pylon Electronics | A-226 | Storage
Ra-226 | Rn Gen | 35 μCi | Pylon Electronics | A-232 | Storage
Ra-226 | Sealed | 10 μCi | Packard LS Counter | 5070175B | Storage
Ba-133 | Sealed | 18.8 μCi | Perkin Elmer NEW 10/1/13 | BAK 170 | Instrument inCounting Room
Ba-133 | Sealed | 18.8 μCi | Perkin Elmer 2910 TR | H690 | Instrument inCounting Room
Cs-137 | Disc | 1 μCi | The Source | 33117 | Ludlum Meter SN 12652
Cd-109 | Disc | 1 μCi | Canberra | 145E15-6 | Lab
Co-57 | Disc | 1 μCi | Canberra | 149E17-3 | Lab
Sn-113 | Disc | 1 μCi | Canberra | 149E18-1 | Lab
Cs-137 | Disc | 1 μCi | Canberra | 141E11-3 | Lab
Mn-54 | Disc | 1 μCi | Canberra | 149E16-1 | Lab
Zn-65 | Disc | 1 μCi | Canberra | 149E19-1 | Lab
Cd-109 | Disc | 1.1892 μCi | Canberra | E-10-1 | Lab
Co-57 | Disc | 0.9521 μCi | Canberra | E-10-2 | Lab
Ba-133 | Disc | 1.1725 μCi | Canberra | E-10-3 | Lab
Cs-137 | Disc | 0.9741 μCi | Canberra | E-10-4 | Lab
Mn-54 | Disc | 1.1334 μCi | Canberra | E-10-5 | Lab
Zn-65 | Disc | 1.0533 μCi | Canberra | E-10-6 | Lab
Na-22 | Disc | 1.1850 μCi | Canberra | E-10-7 | Lab
Co-60 | Disc | 0.9235 μCi | Canberra | E-10-8 | Lab
Cs-137 | Vial | 209 μCi | RadQual | BM06137E12243103 | Storage
Ba-133 | Vial | 293 μCi | RadQual | BM06133E12153114 | Storage
Co-57 | Vial | 5,780 μCi | RadQual | BM06057E12219134 | Storage
Ba-133 | Sealed | 18.8 μCi | Packard LS Counter | DG20 | Instrument inCounting Room
Various multi-line unsealed sources used for gamma spectroscopy present but are exempt.

## AreaSurvey
Surveys of Ionizing Radiation in Various Areas
Radiation Safety Engineering, Inc. |  |  |  | Restricted > 2.0 mR/hr
Arizona | License number | 123456789 |  | Unrestricted < 0.2 mR/hr
Survey Instrument Information:
Manufacturer:
Model number:
Serial number:
Date | Background Reading (mR/hr) | Check Source Reading (mR/hr) | Area #1 (mR/hr) | Area #2 (mR/hr) | Area #3 (mR/hr) | Area #4 (mR/hr) | Area #5 (mR/hr) | Initials
2025-01-01
2025-01-08
2025-01-15
2025-01-22
2025-01-29
2025-02-05
2025-02-12
2025-02-19
2025-02-26
2025-03-05
2025-03-12
2025-03-19
2025-03-26
2025-04-02
2025-04-09
2025-04-16
2025-04-23
2025-04-30
2025-05-07
2025-05-14
2025-05-21
2025-05-28
2025-06-04
2025-06-11
2025-06-18
2025-06-25
2025-07-02
2025-07-09
2025-07-16
2025-07-23
2025-07-30
2025-08-06
2025-08-13
2025-08-20
2025-08-27
2025-09-03
2025-09-10
2025-09-17
2025-09-24
2025-10-01
2025-10-08
2025-10-15
2025-10-22
2025-10-29
2025-11-05
2025-11-12
2025-11-19
2025-11-26
2025-12-03
2025-12-10
2025-12-17
2025-12-24
2025-12-31
Formulas:
Date = [Date, row above]+7

## ALARAreport
ALARA Investigative Limits Report |  | Date: | 2025-01-18
Radiation Safety Engineering, Inc.
Arizona | License number | 123456789
The Radiation Safety Office (RSO) routinely monitors the cumulative exposure throughout the year.
For a Level I investigation, individuals are notified of their exposure and asked to evaluate work practices with the purpose of reducing future exposure.
For a Level II investigation, the RSO reviews the root causes for the exposure with the individual, and methods are implemented to control future exposures.
The ALARA investigation levels are (Level I and II are 10% and 30%, respectively, of regulatory limits):
| Regulatory Limit (rem/year) | Level I Limit (mrem/quarter) | Level II Limit (mrem/quarter)
DDE (whole body) | 5 | 125 | 375
LDE: (lens of eye) | 15 | 375 | 1250
SDE (extremity/skin) | 50 | 1250 | 3750
Definitions: | See 10 CRF 20.1201 for Occupational Dose Limits.
Deep Dose Equivalent (DDE): External whole body exposure at a tissue depth of 1 cm.
Lens Dose Equivalent (LDE): External exposure to the lens of the eye at a tissue depth of 0.3 cm.
Shallow Dose Equivalent: (SDE): External exposure at a tissue depth of 0.007 cm or to any extremity.
Employee ID Number |  | 100002
Employee Name (Last, First MI) |  | Doe, John B.
Recorded doses (mrem) for period: |  | Third Quarter | Employee Notified | Emploee Reponse Received
DDE | 500 | Dose exceeds Level II limit | TRUE | FALSE
LDE | 400 | Dose exceeds Level I (but not II) limit | TRUE | FALSE
SDE | 1000 | Dose is below Level I and II limits | FALSE | FALSE

## PregnantWorker
Pregnant Worker Report |  | Date: | 2025-01-18
Radiation Safety Engineering, Inc.
Arizona | License number | 123456789
Employee ID Number |  | 100001
Employee Name (Last, First MI) |  | Doe, Jane A.
Employee Date of Birth |  | 1980-08-21
Estimated Conception Date (Optional) |  | 2001-02-14
Pregnant Worker Declaration Date |  | 2001-04-01
Year | Month | Dose (mrem) | Did Monthly Exposure Exceed 50 mrem?
2001 | January |  | no
| Feburary | 7 | no
| March | 55 | YES
| April | 5 | no
| May | 6 | no
| June | 8 | no
| July | 51 | YES
| August | 7 | no
| September | 5 | no
| October | 3 | no
| November | 5 | no
| December |  | no
| Total Dose During Gestation Period | 146
| Did 9-month dose exceed 500 mrem? | no
Pursuant to 10 CFR 20.128 (1998):
(a) The licensee shall ensure that the dose equivalent to the embryo/fetus during the entire pregnancy, due to the occupational exposure of a declared pregnant woman, does not exceed 0.5 rem (5 mSv). (For recordkeeping requirements, see § 20.2106.)
(b) The licensee shall make efforts to avoid substantial variation above a uniform monthly exposure rate to a declared pregnant woman so as to satisfy the limit in paragraph (a) of this section.
(c) The dose equivalent to the embryo/fetus is the sum of—(1) The deep-dose equivalent to the declared pregnant woman; and (2) The dose equivalent to the embryo/fetus resulting from radionuclides in the embryo/fetus and radionuclides in the declared pregnant woman.

## RadionuclideData
Fundamental Data on Common Radionuclides
Radionuclide |  | NuDat 3.0 a |  | Half-Life
Long Name | Abbreviation | Half-Life | Unit | (days)
Tritium (Hydrogen-3) | H-3 | 12.3221 | y | 4500.5546
Carbon-14 | C-14 | 5686 | y | 2076768.855
Nitrogen-13 | N-13 | 9.967 | m | 0.0069215
Nitrogen-16 | N-16 | 7.13 | s | 8.2523e-05
Flourine-18 | F-18 | 109.734 | m | 0.076204
Sodium-22 | Na-22 | 2.6019 | y | 950.3245
Sodium-24 | Na-24 | 14.9578 | h | 0.62324
Phosphorus-32 | P-32 | 14.267 | d | 14.267
Sulfur-35 | S-35 | 87.35 | d | 87.35
Chlorine-36 | Cl-36 | 301300 | y | 110047565.25
Argon-41 | Ar-41 | 109.61 | m | 0.076118
Potassium-40 | K-40 | 1248000000 | y | 455822640000
Manganese-54 | Mn-54 | 312.1 | d | 312.1
Cobalt-57 | Co-57 | 271.8 | d | 271.8
Cobalt-60 | Co-60 | 5.271 | y | 1925.1932
Copper-64 | Cu-64 | 12.7007 | h | 0.5292
Zinc-65 | Zn-65 | 243.93 | d | 243.93
Krypton-85 | Kr-85 | 10.73 | y | 3919.052
Rubidium-87 | Rb-87 | 49700000000 | y | 18152552250000
Strontium-90 | Sr-90 | 28.91 | y | 10559.1607
Yttrium-90 | Y-90 | 64.046 | h | 2.6686
Molybdenum-99 | Mo-99 | 65.936 | h | 2.7473
Technetium-99m | Tc-99m | 6.0073 | h | 0.2503
Cadmium-109 | Cd-109 | 461.98 | d | 461.98
Tin-113 | Sn-113 | 115.08 | d | 115.08
Antimony-124 | Sb-124 | 60.209 | d | 60.209
Iodine-129 | I-129 | 16130000 | y | 5891361525
Iodine-131 | I-131 | 8.0247 | d | 8.0247
Barium-133 | Ba-133 | 10.536 | y | 3848.195
Xenon-135 | Xe-135 | 9.168 | h | 0.382
Cesium-137 | Cs-137 | 30.007 | y | 10959.8317
Iridium-192 | Ir-192 | 73.826 | d | 73.826
Gold-198 | Au-198 | 2.6947 | d | 2.6947
Polonium-210 | Po-210 | 138.378 | d | 138.378
Polonium-214 | Po-214 | 163.48 | µs | Error
Polonium-218 | Po-218 | 3.097 | m | 0.0021507
Radon-222 | Rn-222 | 3.8215 | d | 3.8215
Radium-226 | Ra-226 | 1600 | y | 584388
Thorium-230 | Th-230 | 75400 | y | 27539284.5
Thorium-232 | Th-232 | 14070000000 | y | 5138961975000
Uranium-234 | U-234 | 245500 | y | 89667033.75
Uranium-235 | U-235 | 704000000 | y | 257130720000
Uranium-238 | U-238 | 4463000000 | y | 1630077277500
Plutonium-238 | Pu-238 | 87.7 | y | 32031.7673
Plutonium-239 | Pu-239 | 24109 | y | 8805631.4325
Plutonium-240 | Pu-240 | 6562.2 | y | 2396794.3335
Plutonium-241 | Pu-241 | 14.329 | y | 5233.5598
Americium-241 | Am-241 | 432.6 | y | 158003.9055
Californium-252 | Cf-252 | 2.647 | y | 966.7969
a Half-life data are from NuDat 3.0, National Nuclear Data Center (NNDC), 2017.
NuDat: Nuclear Structure and Decay Data. Brookhaven National Laboratory.
https://www.nndc.bnl.gov/nudat3/.